[Project Address] Proposed Commercial Development [Client] 22 June 2026

[GIWREF]

REV A

giw.com.au

285 Lennox Street

Richmond VIC 3121

+61 3 9044 5111

GIW Environmental Solutions Pty Ltd

## Limitations

This Report has been prepared by GIW Environmental Solutions Pty Ltd for the sole use of [Client].It must be presented in full and used only for the project-specific purposes outlined in the Agreement.

Any third-party reliance on this Report is entirely at that party's own risk. GIW Environmental Solutions Pty Ltd makes no warranty or guarantee to third parties and accepts no liability for any third-party use or reliance.

Publication of this Report must comply with the Planning and Environment Act 1987 and Freedom of Information Act 1982. GIW requires formal notification from the Responsible Authority prior to any public release. This Report must be removed from the public domain immediately following the public consultation period.

## Copyright

The concepts and information in this Report are the property of GIW Environmental Solutions Pty Ltd. Use or copying of this Report, in whole or in part, without written permission constitutes copyright infringement. Information must not be assigned to a third party without prior consent of the author.

## Revision History

| Revision | Date | Author | Approved | Comments |
| --- | --- | --- | --- | --- |
| A | [Date] | XX | IB | Draft |

| Report Prepared by: Project Consultant Firstname Lastname ESD Consultant B.Sc. (Science, Business and Innovation) M.Sc. (Sustainable Development) | Report Approved by: Project Team Leader Ines Buskermolen Associate Director B.Sc. (Science, Business and Innovation) M.Sc. (Sustainable Development) |
| --- | --- |

# Contents

Limitations	2

Copyright	2

Revision History	2

Contents	3

Introduction	4

Project Information	4

Statutory Requirements	5

Built Environment Sustainability Scorecard (BESS)	5

Responsibilities & Implementation	6

Sources of Information	6

Key ESD Initiatives	7

Building Performance Summary	8

ESD Assessment	9

Management	9

Integrated Water Management	10

Operational Energy	12

Indoor Environment Quality	14

Transport	16

Materials	18

Waste & Resource Recovery	19

Urban Ecology	20

Innovation	21

Appendix A – WSUD Response	22

Appendix X – Preliminary J1V3 Energy Modelling	28

Appendix X – Renewable Energy	33

Appendix X – Daylight Modelling	34

Appendix X – Natural Ventilation	37

Appendix X – BESS Assessment	38

# Introduction

## Project Information

The proposed development at [Project Address] will include [Total Retail] retail tenancies and [Total Office] commercial tenancies constructed over [Building Height] levels plus Choose an item. and will consist of the following:

[Total area retail] m2 retail

[Total area office]m2 commercial

The site has an approximate surface area of [Site area]m2 and is currently the location of a XX.  Distance from the site to Melbourne CBD is approximately [Distance to CBD]km.

ADD 9.7hx17.4w

Figure 1 - Pre-existing sites at [Project Address].

## Statutory Requirements

This SMP has been prepared in response to the following Planning Scheme requirements:

| Planning Scheme Clause | Application Requirement | Example Tools |
| --- | --- | --- |
| Choose an item | Sustainability Management Plan (SMP) | BESS Green Star MUSIC STORM / Blue Factor |
| Choose an item. | Meet the current best practice performance objectives for stormwater quality as contained in the Urban Stormwater - Best Practice Environmental Management Guidelines (Victorian Stormwater Committee, 1999). | MUSIC STORM / Blue Factor |
| Choose an item Planning Scheme - Clause 15.01-2S | N/A | N/A |

## Built Environment Sustainability Scorecard (BESS)

The development has been assessed using the Built Environment Sustainability Scorecard (BESS).

| Management | Integrated Water Management (IWM) | Operational Energy | Indoor Environmental Quality (IEQ) |
| --- | --- | --- | --- |
| Transport | Waste & Resource Recovery | Urban Ecology | Innovation |

Figure 2 - BESS Environmental Categories (www.bess.net.au)

## Responsibilities & Implementation

The [Client] shall bear sole responsibility for the implementation of all requirements set forth in this Report throughout the design and development phases. In the event of a sale or transfer of the subject property, such responsibility shall pass in its entirety to the incoming proprietor by operation of the transfer. Upon engagement of a builder or head contractor, responsibility for implementation shall vest in that party for the duration of the construction phase. Following the grant of an occupancy certificate, the Owners Corporation and all individual lot and unit owners and tenants shall be jointly and severally responsible for the proper operation and use of all installed equipment and systems in strict accordance with the Building User's Guide.

## Sources of Information

The following ‘Sources of Information’ have been used to guide the design solutions:

[Architect] – Project No. XXX – Drawing No. XXX

Municipal Association of Victoria - SDAPP Explained; Building Design for a Sustainable Future

Built Environment Sustainability Scorecard (BESS)

CSIRO 1999, Urban Stormwater – Best Practise Environmental Management Guidelines

# Key ESD Initiatives

|  | The project achieves a total BESS score of [BESS score]% with no mandatory category (IEQ, Operational Energy, IWM) below 50%. |
| --- | --- |
|  | Water efficient fittings and fixtures are applied throughout. |
|  | A [XXX] litre rainwater tank will harvest rainwater from XXX. |
|  | A Blue Factor rating of 100% is achieved |
|  | [XX] |
|  | The development is provided with a comprehensive shading strategy. |
|  | The conditioned areas target heating and cooling energy reduction by [XX%] compared the BCA 2022 reference. |
|  | The development is to utilise . |
|  | A [XX]kW Solar PV system is to be located on the roof of the development. |
|  | The majority of the development meets BESS IEQ requirements. |
|  | [XX] |
|  | The regular use areas are targeting a 2% DF to [XX]% of the nominated area. |
|  | [XX bicycle spaces are to be provided for employees |
|  | [XX bicycle spaces are to be provided for non-residential visitors |
|  | The development is provided with an end of trip facility |
|  | Choose an item. |
|  | At least 80% of the waste generated during construction and demolition has been diverted from landfill |
|  | Separate general, recycling, glass and organic waste storage will be provided at XXX |
|  | [XX]m2 of communal space will be provided at XXX. |
|  | The total area of vegetation is [XX]% of the site area |
|  | [XX]m2 of communal food production area will be provided. |

# Building Performance Summary

[SMP Visualisation. Copy from C2 to U25 from excel sheet. Paste as image]

# ESD Assessment

## Management

Council ESD objectives:

To encourage a holistic and integrated design and construction process and ongoing high performance.

| Council Best Practice Standard |  |  |  |
| --- | --- | --- | --- |
| Criteria |  | Construction and Building Management Actions |
| Pre-Application Meeting | To ensure appropriate sustainable design principles and strategies are considered from the preliminary design stage of each development. | Choose an item. |  |
| Metering | To provide building users with information that allows monitoring of energy and water consumption | .Electricity and cold water metering is to be provided to each individual commercial tenancy. Gas metering is to be provided to each individual tenancy requiring a gas connection. Lighting and general power to common areas is to be separately metered to quantify energy used for common areas spaces. |  |
| Building User’s Guide | To encourage and recognise initiatives that will help building users to use the building more efficiently. | - A Building User’s Guide will be provided to all occupants explaining the main sustainable design initiatives, systems and processes that building users will interact with. |  |

## Integrated Water Management

Council ESD objectives:

To reduce total operating potable water.

To encourage the appropriate use of alternative water sources (including greywater, rainwater and stormwater).

To incorporate best practice water sensitive urban design to improve the quality of stormwater runoff and reduce impacts on water systems and water bodies.

| Council Best Practice Standard |  |  |  |
| --- | --- | --- | --- |
| Criteria |  | Development Provision |  |  |
| Stormwater Treatment | To minimise negative environmental impacts of stormwater runoff and maximise onsite re-use of stormwater. | A Blue Factor rating of [Blue Factor score]% is achieved via the following: Rainwater is to be collected from [collection area]m2 and directed into the [rainwater tank size] litre rainwater tank. XX WC’s are to be connected to the rainwater tank. Rainwater is to be collected from XX and directed into a ≥[raingarden size]m2, minimum 1,150mm deep raingarden with 300mm of extended detention. Refer Appendix A – WSUD Response |
| Potable Water Reduction | To reduce total potable water use due through the use of efficient fixtures, appliances, and the use of rainwater. | WELS [Toilet WELS] Star - Toilets; WELS [Taps WELS] Star -Taps; WELS [Shower WELS] Star -Showerhead; WELS [Dishwasher WELS] Star -Dishwasher. |
| Rainwater Collection & Reuse |  | A [rainwater tank size] litre rainwater tank will harvest rainwater from XXX. This tank will be connected to XXX. Stormwater drainage mechanism is to be determined by the hydraulics services engineer at the design development phase. Refer Appendix A – WSUD Response. |
| Landscape Irrigation | To ensure the efficient use of water and to reduce total operating potable water use through encouraging water efficient landscape design. | Choose an item. |
| Building System Water Use Reduction | Ensure the efficient use of water, to reduce total operating potable water use and to encourage the appropriate use of alternative water sources for cooling and fire testing systems. | >80% of fire test water (e.g. hydrant pump test water or SCV annubar test) is to be reused on site, either within the fire test system itself, irrigation, toilet flushing, or other non-potable uses. Final coordination and confirmation of these options will occur with the fire engineer at a later stage. The proposed development is to incorporate air-cooled HVAC systems for both the residential and non-residential areas within the development. |

## Operational Energy

Council ESD objectives:

To reduce both energy use and energy peak demand through design measures.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Thermal Performance Rating – Non-Residential | To reduce energy needed to achieve thermal comfort in summer and winter - improving comfort, reducing greenhouse gas emissions, energy consumption, and maintenance costs. | The conditioned areas aim to reduce heating and cooling energy consumption by [improvement%] below the reference case (BCA Section J 2022). Refer Appendix X: Preliminary J1V3 Energy Modelling All exposed floors and ceilings (forming part of the envelope) to demonstrate a minimum 10% improvement in required NCC2022 insulation levels. All wall and glazing are to meet the required NCC2022 facade calculator (or better than the total allowance). Refer Appendix X – Preliminary J4D6 BCA 2022 Façade Calculator |
| Electrification | To support the transition to renewable energy sources. | The development will be all-electric with no gas connection. |
| HVAC System | To ensure the efficient use of energy and to reduce consumption of electricity. | VRV / VRF systems with a COP of 3.4 are to be installed to the non-residential areas. |
| Hot Water System | To ensure the efficient use of energy and to reduce consumption and greenhouse emissions from water heating. | The development is to utilise [Hot water] |
| Car Park Ventilation | To ensure the efficient use of energy, reduce total operating greenhouse gas emissions and to reduce energy peak demand. | Carpark ventilation fans are driven by a VSD motor connected to CO sensors within the carpark. The mechanical services engineer is responsible for the design and specification of the system. The contractor is to procure and install the specified system. Maintenance requirements of the CO sensor system are to be included in the O&M manual. |
| Internal Lighting – Non-Residential | To ensure the efficient use of energy, to reduce energy consumption, greenhouse emissions associated with artificial lighting, and to reduce energy peak demand. | The maximum illumination power density (W/m2) in the non-residential areas meets the requirements of Table J7D3a of the NCC 2022 Section J. Lighting power density shall be as follows: Retail: No greater than average 14W/m2 Office: No greater than average 4.5W/m2 |
| Renewable Energy Systems - Solar | To encourage on-site renewable energy generation and reduce greenhouse emissions. | A [Solar PV] Solar PV system is to be located on the roof of the proposed. The system is expected to generate approximately [Solar output]kWh and will be connected to common area lighting and power. Refer Appendix X – Renewable Energy |

## Indoor Environment Quality

Council ESD objectives:

To achieve a healthy indoor environment quality for the wellbeing of building occupants.

To provide a naturally comfortable indoor environment will lower the need for building services, such as artificial lighting, mechanical ventilation and cooling and heating devices.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Daylight Access – Non-Residential | To provide a high level of amenity and energy efficiency through design for natural light. | The regular use areas are targeting a 2% DF to [XX]% of the nominated area. |
| Ventilation – Non-residential | To provide fresh air and passive cooling opportunities. | [Ventilation Non-Resi] This is to be included in the mechanical design and specifications. |
| Thermal Comfort – Non-Residential | To provide comfortable indoor spaces and reduce energy needed for heating and cooling. | The development is provided with a comprehensive shading strategy: [Shading] |
|  |  | [Fans]% of the regular use areas of the commercial areas are provided with ceiling fans. |
| Air Quality – Non-Residential | All paints and adhesives meet the maximum total indoor pollutant emission limits. | All internally applied paints adhesives and sealants are to have a low or ultra-low VOC content in line with Green Star Buildings V1 Credit 13. |
|  | All carpet meets the maximum total indoor pollutant emission limits. | All internally applied carpets are to have a low VOC content in line with Green Star Buildings V1 Credit 13. |
|  | All engineered wood meets the maximum total indoor pollutant emission limits. | All internally applied engineered wood products are to have low formaldehyde levels in line with Green Star Buildings V1 Credit 13. |

## Transport

Council ESD objectives:

To promote the use of walking, cycling and public transport, in that order; and minimise car dependency.

To promote the use of low emissions vehicle technologies and supporting infrastructure.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Bicycle Parking – Non-Residential & Non-Residential Visitors | To encourage and recognise initiatives that facilitate cycling. | [Employee bikes] bicycle spaces are to be provided for employees. This represents a 50% increase over the planning scheme requirements. [visitor bikes] bicycle spaces are to be provided for non-residential visitors. This represents a 50% increase over the planning scheme requirements. |
| End of Trip Facilities – Non-Residential | To minimise car dependency and to ensure that the built environment is designed to promote the use of public transport, walking and cycling. | The development is provided with an end of trip facility including [EOT showers] showers, [EOT lockers] lockers and changing facilities. |
| Electric Vehicle Infrastructure | To minimise car dependency and to ensure that the built environment is designed to promote the use of public transport, walking and cycling. | No car parking spaces are specifically intended for electric vehicles. Future infrastructure for electrical charging points is incorporated in the services design for Choose an item. |
| Car Share Scheme | To minimise car dependency and to ensure that the built environment is designed to promote the use of public transport, walking and cycling. | The proposed development will incorporate a dedicated car parking space for car sharing. |
| Motorbikes / Mopeds | To minimise car dependency and to ensure that the built environment is designed to promote the use of public transport, walking and cycling. | The proposed development will incorporate min. [Motorbikes] motorbike / moped spaces in the basement carpark. This represents ≥5% of the total carparking. |

## Materials

ESD objectives:

Use of low embodied energy materials.

Encourage use of recycled and reusable materials in building construction and undertake adaptive reuse of buildings, where practical.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Embodied Energy | Limited use of high embodied energy materials | The design will seek to limit the use of high embodied energy metal finishes. Concrete mixes used within the project will seek to reduce Portland cement and aggregate content where deemed appropriate by the structural engineer. |
| Structural and Reinforcing Steel | Commitment to source structural and reinforcing steel from a responsible steel maker | The building’s steel (by mass) is to be sourced from a Responsible Steel Maker with: a currently valid and certified ISO 14001 Environmental Management System (EMS) in place; or is a member of the World Steel Association's (WSA) Climate Action Programme (CAP) |
| Sustainable Timber | Commitment to source timber from sustainably managed source | Where timber is to be used, such timbers are to accord with the GBCA’s ‘Essential’ criteria for forest certification (FSC or PEFC). Alternatively, recycled timber will be used. |
| PVC | Commitment to source best practice PVC products | Permanent formwork, pipes, flooring, blinds and cables in the project will seek to comply with the following: Meet the GBCA’s Best Practice Guidelines for PVC. or; The supplier holds a valid ISO140001 certification. |
| Sustainable Products | Commitment to source products that meet the transparency and sustainability requirements | The project will incorporate products that meet the transparency and sustainability requirements where deemed appropriate. This includes the following: reused products, recycled content products, environmental product declarations, third party certified and stewardship programs. |

## Waste & Resource Recovery

Council ESD objectives:

To promote waste avoidance, reuse and recycling during the design, construction and operation stages of development.

To encourage use of durable and reuseable building materials.

To ensure sufficient space is allocated for future change in waste management needs, including (where possible) composting and green waste facilities.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Building Re-use | To ensure waste avoidance, reuse and recycling during the design. | Choose an item. |
| Construction and Demolition Waste | To reduce construction waste going to landfill | At least 80% of the waste generated during construction and demolition has been diverted from landfill. |
| Food & Garden Waste | To ensure waste avoidance, reuse and recycling during the operational life of the building. | Green waste storage is provided in the XXX. |
| Convenience of Recycling | To ensure waste avoidance, reuse and recycling during the operational life of the building. | Separate general, recycling, glass and organic waste storage will be provided at XXX. Each tenancy is to be provided with separate general, recycling and food and organics waste bins. This requirement is to be included in the owners corporation rules or lease agreement. |

## Urban Ecology

Council ESD objectives:

To protect and enhance biodiversity.

To reduce urban heat island effects.

To encourage the provision of space for productive gardens, particularly in larger residential developments.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Communal Space | To encourage and recognise initiatives that facilitate interaction between building occupants. | [Communal area]m2 of communal space will be provided at XXX. Communal space will include the following amenities: XXX, XXX. |
| Vegetation | To encourage and recognise the use of vegetation and landscaping within and around developments. | Planter boxes are to be located XXX. Landscaped area is to be located XXX. The total area of vegetation is [Vegetation]% of the site area. |
| Green Walls / Roof | To encourage the appropriate use of green roofs, walls and facades to mitigate the impact of the urban heat island effect. | The proposed development will incorporate a green wall / roof at XX. |
| Food Production – Non- Residential | To encourage the production of fresh food on-site. | [Food production]m2 of communal food production area will be provided at XX. |
| Heat Island Effect | To reduce the contribution of the project site to the ‘heat island effect | Roofs are to have a three-year SRI of minimum 60. Unshaded hard-scaping elements are to have a three-year SRI of minimum 40. |

## Innovation

Council ESD objectives:

To encourage innovative technology, design and processes in all development, which positively influence the sustainability of buildings.

| Council Best Practice Standard |  |  |
| --- | --- | --- |
| Criteria |  | Development Provision |
| Life Cycle Assessment | To reduce carbon emission and resource consumption. | A life cycle assessment is to be undertaken during the Design Development phase. The embodied carbon of the development will be benchmarked against a standard practice building to determine the percentage reduction achieved. The life cycle results will be used to inform material selection, construction practices and end of life treatment. |
| Carbon Neutral Ready Development | To reduce environmental impact and contribute to a sustainable future by minimizing carbon emissions. | The proposed development will be established with a carbon neutral power agreement between developer, owner’s corporation, and electrical retailer to provide GreenPower for all energy consumed by building (including communal areas, apartments and retail tenancy). It is the intent to maintain this agreement for a minimum of 10 years. |
| ESD Checkpoint during Construction Phase | To ensure that all ESD items are suitably installed and incorporated during construction. | An ESD professional will be engaged throughout the design and construction process. The ESD professional will perform a minimum of 2 site inspections during the construction phase to ensure suitable implementation of the ESD initiatives. Any deficiencies compared to the endorsed SMP will be escalated to the project manager and resolved. The checkpoint assessments will be undertaken at two stages as follows: Site Inspection 1: Prior to installation of internal linings. Site inspection 2: At the time of project completion. |

## Appendix A – WSUD Response

Site layout Plan

The following architectural mark-up illustrates the rainwater collection and impervious areas of the proposed development site.

ADD

Figure 3- Mark-up of water catchment and impervious areas

### Blue Factor Rating

A Blue Factor rating of ≥100% can be achieved by implementing the following initiatives:

Rainwater is to be collected from XX and directed into the [rainwater tank size] litre rainwater tank. XX WC’s are to be connected to the rainwater tank.

Rainwater is to be collected from XX and directed into a ≥XXm2, minimum 1,150mm deep raingarden with 300mm of extended detention.

- Blue Factor was developed by Microburst Software with support from DEECA. as a method of simplifying the analysis of stormwater treatment methods. The Blue Factor Calculator displays the amount of treatment that is required to meet best practice targets, using WSUD treatment measures.

The best practice standards have been set out in the Urban Stormwater Best Practice Environmental Management Guidelines (Victoria Stormwater Committee, 1999) for reduction in total suspended solids (TSS), total phosphorus (TP) and total nitrogen (TN) loads.

Note: Blue Factor provides a ‘deemed to comply’ pathway for low-risk developments. Under this pathway, a project meets the minimum planning requirement for total nitrogen but may not achieve all on-site stormwater flow management objectives. A development is considered ‘deemed to comply’ when it attains a Blue Factor rating of ≥100%.

### WSUD Strategy

The development will include the provision of a [rainwater tank size] litre rainwater tank and associated pump in the basement garage. The rainwater tank is to be connected to XX WC’s and in-ground drip irrigation system.

| Figure 4 – Location Rainwater Tank | Figure 5 – Cross-section Tank (City of Port Phillip) |
| --- | --- |

Furthermore, a ≥[raingarden size]m2, minimum 1,150mm deep raingarden with 300mm of extended detention is to be provided. Rainwater collected from XXX is to be directed into the raingarden for treatment prior to discharge into the stormwater system.

| Figure 6 – Location Raingarden | Figure 7 – Cross-section Raingarden (City of Moreland) |
| --- | --- |

### Rainwater Reuse

### Site Management Statement

Prevention of litter, sediments and pollution entering the stormwater system in the construction phase is to be addressed through introduction of the following initiatives:

Buffer strips to pervert stormwater runoff.

Gravel sausage filters at stormwater inlets to prevent silt, mud or any other site contaminant from entering the stormwater system.

Silt fences under grates at surface entry inlets to prevent sediment from entering the stormwater system.

Temporary rumble grids to vibrate mud and dirt off vehicles prior to leaving the site.

The site is to be kept clean from any loose rubbish or rubble.

Introduction of offsite construction for building elements where deemed appropriate.

The builder is to include these initiatives in the construction management plan and address these during site induction of relevant contractors.

### Maintenance Program

The following maintenance requirements are to be programmed to ensure the rainwater tank operates effectively:

| Item | Description | Maintenance Interval |
| --- | --- | --- |
| Gutters and downpipes | Eave and box gutters are to be inspected and cleaned to prevent large debris from being washed into rainwater tank. | 3 monthly |
| First flush system (as applicable) | Inspect and clean excess sediment from diverter chamber to prevent blockages. | 3 monthly |
| Tank contents | Siphon the tank to inspect contents. If sludge is present, a plumber will be required to drain tank contents and clean the tank. | 2 to 3 years |
| Tank structure | Inspect tank externally for leaks | Yearly |
| Pump system | Inspect pump wiring, plumbing and check for smooth operation. | 6 monthly |
| Plumbing | Plumbing and fixtures connected to the rainwater tank is to be inspected for leaks. | Yearly |

The following maintenance requirements are to be programmed to ensure the raingarden operates effectively:

| Item | Description | Maintenance Interval |
| --- | --- | --- |
| Kerbing and paved area | Remove rubbish, leaves and other debris from the surrounding drainage area. | 3 monthly |
| Ponding area | Clear inflow points of built up sediment, rubbish and leaves. Check for erosion or gouging – repair if necessary. | 3 monthly |
| Mulch layer (bark, pebbles, etc.) | Remove rubbish, leaves and other debris. After storm events mulch may need to be redistributed or added around inflow points. | 3 monthly |
| Plants | Water establishing plants monthly during extended dry periods. Check plant health and replace dead plants as necessary. Use native species to suit garden conditions (e.g. full sun or shaded). Remove weeds – do not use herbicides, pesticides and fertilisers as these chemicals will pollute the stormwater runoff. | 3 monthly |
| Rain garden soil mix | Check soil level is below surrounding hard surface level and overflow grate. Use drainage test to check soil is free draining. | Annually |
| Underdrain system | Use inspection well (if present) to check underdrain is working properly. Check rain garden draining freely using drainage test. | Annually |

### Blue Factor Report

## Appendix X – Preliminary J1V3 Energy Modelling

The proposed development is located in Climate Zone 6 and is classified as a Class 5 Office Building with a Class 6 component under the National Construction Code (NCC) 2022. In this preliminary assessment a typical level (level 1) has been assessed to determine the energy performance of the development.

The NCC states that Alternative Solution: Verification Method J1V3 may be applied as a viable Assessment Method to demonstrate achievement of the Performance Requirement J1P1. The services documentation is to be certified by the projects RBP.

J1V3 modelling simulates predicted annual GHG emissions for two building Models as follows:

Model 1:  Simulates the building with full DTS compliance and is known as the ‘Reference Building’;

Model 2:	Simulates the architecture as depicted in the contract documentation with services modelled as DTS compliant.

To determine a compliant result for the proposed building, the predicted annual GHG emissions of Model 2 is to be less than that of Model 1.

Note: Building fabric, glazing, and building services assumptions adopted for the preliminary J1V3 modelling are listed below. These assumptions are based on the documentation made available at the time of assessment and may vary as the project design progresses. These assumptions are not to be relied upon for any other purpose beyond Town Planning assessment.

J1V3 Compliance Requirements

The building energy models demonstrate that the annual GHG emissions of the proposed building with reference services (Model 2) is less than that of the reference building (Model 1). This is deemed to be a compliant solution under NCC Section J – Verification Method J1V3. Refer Section: ‘Results’ for modelling outputs.

The following thermal performance requirements form the basis of the J1V3 Compliance Report. It is the responsibility of the applicant / permit holder to ensure the performance requirements are constructed to the satisfaction of the RBS.

| Glazing | Thermal Performance | Recommended Product |
| --- | --- | --- |
| Fixed Windows | - Total System U-value ≤ 3.0 - Total System SHGC = 0.42 ±10% | Aluminium framed, Double glazed, Argon filled, Low-E, Neutral Tint. |
| Sliding Doors | - Total System U-value ≤ 3.3 - Total System SHGC = 0.36 ±10% | Aluminium framed, Double glazed, Argon filled, Low-E, Neutral Tint. |

| Walls | Thermal Performance (Added Insulation Value) | Recommended Product |
| --- | --- | --- |
| Ext. Wall – Concrete | R2.7 Bulk Insulation | Bradford Gold Hi-performance Wall batts 90mm thick R2.7 with 20mm airspace |
| Int. Wall – Concrete/Plasterboard | R2.7 Bulk Insulation | Bradford Gold Hi-performance Wall batts 90mm thick R2.7 with 20mm airspace |

| Roofs | Thermal Performance | Recommended Product |
| --- | --- | --- |
| Concrete Roof | TBC | TBC |

| Floors | Thermal Performance | Recommended Product |
| --- | --- | --- |
| Concrete slab – where unconditioned or exposed below | R1.75 Soffit Insulation | Kingspan K10 Soffit Board 40mm thick R1.75 |

Modelling Software

| Simulation Package Software | DesignBuilder |
| --- | --- |
| Weather Data | Representative Meteorological Year (RMY) file for Melbourne |

Reference Building Input Data

The following tables list the building thermal performance values applied within the reference model:

| Walls | Description | Total R-Value |
| --- | --- | --- |
| External Walls | Concrete (<80% WWR) | R1.4 |
|  | Concrete (>80% WWR) | R1.0 |
| Internal Walls | Concrete/Plasterboard | R1.4 |
| Roof | Concrete | R3.2 |
| Floor | Concrete | N/A |
| Infiltration |  | 0.7 Air Change per Hour (ac/h) when outdoor air is not mechanically supplied AND; 0.35 Air Change per Hour (ac/h) at all other times |

The following table lists the glazing performance values required by the reference model.

| Glazing | Total System U-value | Total System SHGC |
| --- | --- | --- |
| Method 2 – Multiple Aspects | 4.05 | 0.18 |

Building Services Inputs

The services have been modelled in accordance with the table below:

| Services | Reference Building Services |
| --- | --- |
| Artificial lighting | NCC 2022 Section J Part J7D3 - Table J7D3a – Maximum Illumination Power Densities. |
| Cooling – Spaces conditioned | Assumed all office areas are conditioned. Lobbies, stairwells and toilets are assumed to be unconditioned. |
| Heating – Spaces conditioned | Assumed all office areas are conditioned. Lobbies, stairwells and toilets are assumed to be unconditioned. |
| Cooling – System type | VRV units specified modelled as air-to-air heat pump units with COP of 3.1 (per minimum MEPS requirements for split systems). |
| Heating – System type | VRV units specified modelled as air-to-air heat pump units with COP of 3.1 (per minimum MEPS requirements for split systems). |
| Services Operating Profile | Per NCC 2022 Section J – Specification 35 Table S35C2c and S35C2d. These profiles are modified in some instances to better represent the usage of certain spaces. |
| Heating and Cooling Setpoints | Cooling – 24°C Heating – 21°C |
| Airflow rates | Modelled in accordance with AS1668. |

Activity Profiles

All zones include an activity profile which model occupancy, appliance and equipment, and associated operation profiles. The heat gains from these sources must be accounted for within the modelling. The same profiles are applied in all models per the requirements of Verification Method JV3. These can be summarised as follows:

| Activity Profile Item | All Models |
| --- | --- |
| Occupant Density | Occupant density is per NCC Section D – Part D2D18 and AS1668.2-2012. |
| Occupancy Schedule | Per NCC Section J – Specification 35 Table S35C2c and S35C2d. |
| Occupancy Heat Gains | Per NCC Section J – Specification 35 Table S35C2n. |
| Appliance Heat Gains | Per NCC Section J – Specification 35 Table S35C2l. |
| Appliance Schedule | Per NCC Section J – Specification 35 Table S35C2c and S35C2d. |

Results

Figure 8 – Model of proposed building for energy simulations

The results below have been produced within the DesignBuilder software. These show that the proposed building (Model 2) emits less GHG than the reference building (Model 1).

|  | Model 1 – Reference Building (kg-CO2eq/Annum) | Model 2 - Proposed Building with Reference Services (kg-CO2eq/Annum) |
| --- | --- | --- |
| Lighting |  |  |
| Heating (Electricity) |  |  |
| Cooling (Electricity) |  |  |
| TOTAL |  |  |
| GHG/yr/m2 |  |  |

## Appendix X – Preliminary J4D6 BCA 2022 Façade Calculator

## Appendix X – Renewable Energy

ADD

Location Solar PV System

PVWatts Calculator

## Appendix X – Daylight Modelling

### Scope of Modelling

We have undertaken daylight modelling for XXX assessing both living and bedroom areas. XXX have been selected with consideration of internal layout, inherent and adjacent building shading features. These apartments reflect a worst-case scenario with all other units anticipated to achieve the BESS performance requirements.

The development has been modelled under an equitable development rights scenario with a similar building to that of the proposed on the east, west and south boundaries.

### Methodology

The daylight levels in apartments are benchmarked against the best practice requirements as set out under the Built Environment Sustainability Scorecard (BESS) tool: Indoor Environment Quality (IEQ) – Daylight Access Living Areas and Bedrooms. These levels are as follows:

“Dwellings should achieve the following daylight factors (DF)

80% of the total number of living rooms achieve a daylight factor greater than 1% to 90% of the floor area of each living area, including kitchens.

80% of the total number of bedrooms achieve a daylight factor greater than 0.5% to 90% of the floor area in each room.”

The daylight modelling has been completed using the Radiance software suite, an accurate computing program used to predict light levels in a space prior to construction. Scene geometric data and material properties are interfaced into the Radiance software using Choose an item.

Daylight Factor has been calculated using a CIE uniform cloudy sky.

ADD

Figure 8 – Choose an item. model of proposed and adjacent equitable development right buildings

### Modelling Assumptions

The following assumptions have been made with respect to the modelling:

Modelled window dimensions and shading structures are as depicted on the Architectural drawings.

The glazing performance used for external windows is as follows:

Double glazed, low-e, clear window with a total system VLT of 0.61.

The reflectance of all materials is in accordance with the below:

Floors: 0.3

Walls: 0.7

Ceilings: 0.8

Transient and unoccupied spaces such as corridors and wardrobes have been excluded from the modelled area.

The reflectance of external buildings and structures is assumed to be 0.4.

### Daylight Results – Numerical

The daylight results for living areas of [Project Address] can be summarised as follows:

| Area | Floor Area (m2) | Floor Area above DF1 (m2) | % of floor area above DF1 | Status |
| --- | --- | --- | --- | --- |

The daylight results for bedrooms of [Project Address] can be summarised as follows:

| Area | Floor Area (m2) | Floor Area above DF0.5 (m2) | % of floor area above DF0.5 | Status |
| --- | --- | --- | --- | --- |

### Daylight Results – Visual

Figure 9 - Daylight Map - XXX

### Overall Building Results

| Apartment No. | Total Living Areas | Living Areas Compliant | Total Bedrooms | Bedrooms Compliant |
| --- | --- | --- | --- | --- |
| Total |  |  |  |  |
| Percentage | XX% of Living areas |  | XX% of Bedrooms |  |

### Conclusion

The development has been assessed, and it has been determined that all living areas and ≥80% of bedrooms will achieve the daylight factors as prescribed under BESS and therefore the development will meet the BESS IEQ guidelines for daylight.

## Appendix X – BESS Assessment